HCV Assay Evaluation

Simulated Diagnostic Performance Analysis

Biniam Degaga  ·  M.S. Data Science  ·  Medical Laboratory Scientist

Project Overview

A Python-based simulation and evaluation of a Hepatitis C Core Antigen assay compared to Nucleic Acid Amplification Testing (NAAT), modeled after published clinical assay evaluation research including a multi-center study published in Microbiology Spectrum (2024).

This project demonstrates a full diagnostic data science workflow — from synthetic data generation through algorithm evaluation — applied to a real-world clinical problem: how well does an HCV antigen assay detect viremia compared to the gold-standard NAAT method?

The simulation reflects the structure and analytical challenges of actual assay evaluation studies, including relational patient/specimen datasets, probabilistic viral load distributions, antigen signal modeling, and deliberate injection of discordant cases (false negatives at low viral loads).

Key Results

| Metric | Value |
| --- | --- |
| Sensitivity | 96.6% |
| Specificity | 100.0% |
| Overall Concordance | 97.3% |
| Cohen's Kappa | 0.914 (near-perfect agreement) |
| Discordant Cases | 14 of 512 specimens |
| Discordance Pattern | All false negatives; low viral loads (500–5,000 IU/mL) |

Discordant cases were concentrated in the low viral load range, consistent with published findings on antigen assay detection limits — a clinically meaningful pattern relevant to treatment monitoring populations.

Dataset Structure

The simulation generates two linked relational datasets:

Patient-level  (n = 450 patients)

- Patient ID, age (normal distribution, clipped 3–87), sex (M/F)

Specimen-level  (n = 512 specimens)

- Specimen ID, patient ID, specimen number, specimen type (Screening / Monitoring)

- Collection date (2023–2024)

- Viral load (log-normal distribution for positives; zero for negatives)

- NAAT result (ground truth, derived from viral load)

- Antigen signal (log10 viral load + Gaussian noise, clipped ≥ 0)

- Antigen result (positive/negative, with engineered false negatives at low viral loads)

This two-table relational structure mirrors the data architecture of real multi-specimen clinical studies.

Methods

- Data simulation: numpy probabilistic modeling (normal, log-normal, choice distributions); rule-based discordant case injection

- Exploratory data analysis: viral load distributions, specimen type breakdowns, signal summary statistics

- Diagnostic performance: sensitivity, specificity, concordance, confusion matrix

- Agreement analysis: Cohen's kappa (scikit-learn)

- Visualization: viral load histogram, viral load vs. antigen signal scatterplot (linear and log-scaled), confusion matrix heatmap

Clinical Context

HCV core antigen assays offer a lower-cost alternative to NAAT for viremia detection, particularly in resource-limited or high-throughput screening settings. However, their sensitivity at low viral loads — relevant to post-treatment monitoring — remains a key limitation. This project models that limitation explicitly and quantifies it using standard clinical performance metrics.

This simulation was informed by:

Degaga B. et al. "Comparison of a Hepatitis C Core Antigen Assay to Nucleic Acid Amplification Testing for Detection of HCV Viremia in a U.S. Population." Microbiology Spectrum, 2024. Presented as a poster at the AACC Annual Scientific Meeting & Clinical Lab Expo, 2023.

Tech Stack

- Python 3.11

- pandas, numpy

- scikit-learn

- matplotlib

- Jupyter Notebook

Repository Structure

- hcv_assay_project.ipynb — full simulation and analysis

- README.md — project documentation